## Sheet1
Density estimation protocol
Method 1: measuring cylinder - low fidelity
Use a 10ml measuring cylinder (the smallest available in the lab). Fill the measuring cylinder gradually with your solution.
Fill in the yellow cells below:
vol soln
| Cylinder | 0 | ml |  | g
|  | 2 | ml |  | g
|  | 4 | ml |  | g
|  | 6 | ml |  | g
|  | 8 | ml |  | g
|  | 10 | ml |  | g
The density in g/ml is the gradient of the best fit line (display the eqn first)
Method 2: serological pipette - high fidelity
Use a 5ml serological pipette (you can find these in the pipette cabinet in the lab) and a beaker large enough such that
the pipette can stand and not flop over when placed in it.
First, measure the empty beaker and pipette together. Pipette out 5ml of your solution. Place the pipette in the beaker
quickly, making sure there are no spills, and weigh. Repeat this process at least thrice, or until you get
agreeing readings within +/- 1mg.
| Empty mass |  |  |  | g
| Filled mass |  |  |  | g
| Measured volume |  |  | 5 | ml | *Change this depending on the amount of liquid you suction out. The bigger the volume the better.
| Density |  |  | 0 | g/ml
Weight % psf | Mass (g) | Volume (mL) | Density (g/mL) | Avg. Density | Std. deviation | Error
17% | 1.0934 | 1 | 1.0934
17% | 1.0906 | 1 | 1.0906
17% | 1.0916 | 1 | 1.0916 | 1.0918 | 0.0014063 | 0.00081194
15% | 5.4237 | 5 | 1.0847
15% | 5.3971 | 5 | 1.0794
15% | 5.4309 | 5 | 1.0862 | 1.0834 | 0.0035544 | 0.0020521
12% | 5.3109 | 5 | 1.0622
12% | 5.2645 | 5 | 1.0529
12% | 5.3338 | 5 | 1.0668 | 1.0606 | 0.0070607 | 0.0040765
10% | 5.3424 | 5 | 1.0685
10% | 5.3564 | 5 | 1.0713
10% | 5.2717 | 5 | 1.0543 | 1.0647 | 0.0090797 | 0.0052422
0% | 5.2228 | 5 | 1.0446
0% | 5.2383 | 5 | 1.0477
0% | 5.131 | 5 | 1.0262 | 1.0395 | 0.011605 | 0.0067